| Special wastes storage area. | Fire lane behind waste tire and scrap metal piles. |
| --- | --- |
| Scrap metal pile. | Propane tanks in special waste area. |
| Lawn maintenance equipment , emptied for storage. | Excess vegetation around waste tire pile. |
| Excess vegetation around waste tire pile. | Small waste tire pile. |
| Flow meters on the leachate collection system for Phase II. | Leachate collection and leak detection side slope risers Phase II. |
| Leachate collection tanks for the entire site. | Inside of Tank two showing significant oxidation requiring maintenance. |
| Leachate in Tank one. |  |
| South slope of Phase I –showing erosion and inadequate cover. | South East corner of Phase I –showing erosion and inadequate cover |
| East side of Phase I –showing erosion and inadequate cover. | East side of Phase I –showing erosion and inadequate cover. |
| North East corner of Phase I –showing erosion and inadequate cover. | North East corner of Phase I –showing erosion and inadequate cover. |
| North side of Phase I –showing erosion and inadequate cover. | North side of Phase I –showing erosion and inadequate cover. |
| West side of Phase I – working face too large for the volume of incoming waste. | West side of Phase I – working face too large for the volume of incoming waste. |
| West side Phase I – adequate cover. | South West corner Phase I – inadequate cover. |
| South side Phase I – errosion and inadequate cover. | MRF waste loading area – clear of debris. |
| Inside the MRF – clear leachate collection drain. | MRF tipping floor – a depressed area in the floor causing leachate pooling. |
| HHW area – lead acid batteries in storage. | HHW area – improperly stored spent fluorescent bulbs. |
| HHW area- storage bay of containment building full of improperly segregated waste. | HHW area- improperly segregated unlabeled waste. |
| HHW area- storage bay of containment building full of improperly segregated waste. | HHW area – inadequate labeling and containment, multiple drums. |