This email shall serve as a continuation of the previous emails regarding Phase 3 and Phase 2 secondary flow rates. Attached please find the August flow data for the Citrus County Central Landfill. The landfill received 17.31 inches of rain for the month creating the exceedances as indicated. Therefore, the issue called out in previous emails from Solid Waste Management and SCS Engineers and the Phase 3 Detection Zone report issued by SCS Engineers dated April 17, 2014 persists. This email shall serve as a continuation of our initial notification. As always, we will continue to keep informed of any developments related to this situation. If you have any questions or comments on the SCS report, please do not hesitate to contact me or Ed Hilton, SCS Engineers.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **CITRUS** | **CENTRAL** | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **COUNTY** | **LANDFILL** | | **PHASE 2** | | | | | | | | | **PHASE 3** | | | | | |
| **DATE** | **DAY** | **RAIN  IN INCHES** | **80-1 (P) LS METER** | **POC** | **Primary  80-1 (P) FLOW GAL** | **80-2 (P) LS METER** | **POC** | **Primary  80-2 (P) FLOW GAL** | **80-3 (S) LS METER** | **POC** | **Secondary  80-3 (S) FLOW GAL** | **80 (P-1) LS METER** | **POC** | **Primary  80 (P-1) FLOW GAL** | **80 (P-2)  LS METER** | **POC** | **Secondary  80 (P-2) FLOW GAL** |
| **08/01/15** | Sat | **1.62** | 10633144 | O | 0 | 7585804 | A | 48000 | 524039 | A | 1393 | 31410728 | A | 29842 | 4638312 | A | 11417 |
| **08/02/15** | Sun | **0.13** | 10633144 | O | 0 | 7585804 | O | 0 | 525432 | A | 3160 | 31440570 | A | 33638 | 4649729 | A | 11652 |
| **08/03/15** | Mon | **1.34** | 10633144 | O | 0 | 7585804 | A | 168000 | 528592 | A | 3326 | 31474208 | A | 47680 | 4661381 | A | 16827 |
| **08/04/15** | Tue | **0.01** | 10633144 | A | 86581 | 7588161 | A | 2616 | 531918 | A | 4136 | 31521888 | A | 25046 | 4678208 | A | 13862 |
| **08/05/15** | Wed | 0.00 | 10719725 | A | 99377 | 7590777 | A | 0 | 536054 | A | 1982 | 31546934 | A | 39810 | 4692070 | A | 6682 |
| **08/06/15** | Thu | 0.00 | 10819102 | A | 64281 | 7590777 | A | 0 | 538036 | A | 986 | 31586744 | A | 114670 | 4698752 | A | 4591 |
| **08/07/15** | Fri | **0.66** | 10883383 | A | 56520 | 7590777 | A | 0 | 539022 | A | 947 | 31701414 | A | 48318 | 4703343 | A | 2442 |
| **08/08/15** | Sat | **2.51** | 10909649 | A | 40527 | 7590777 | A | 0 | 539969 | A | 0 | 31749732 | A | 163364 | 4705785 | A | 9453 |
| **08/09/15** | Sun | **1.01** | 10950176 | A | 80640 | 7590777 | A | 0 | 539969 | A | 1057 | 31913096 | A | 10 | 4715238 | A | 7304 |
| **08/10/15** | Mon | **0.01** | 10950176 | A | 2 | 7590777 | A | 29880 | 541026 | A | 915 | 31913106 | A | 131838 | 4722542 | A | 5592 |
| **08/11/15** | Tue | 0.00 | 10950178 | A | 21600 | 7590777 | A | 11 | 541941 | A | 2 | 32044944 | A | 15148 | 4728134 | A | 3905 |
| **08/12/15** | Wed | **0.07** | 10950467 | A | 13500 | 7590788 | A | 0 | 541943 | A | 934 | 32060092 | A | 18978 | 4732039 | A | 3094 |
| **08/13/15** | Thu | **0.13** | 10953689 | A | 9900 | 7590788 | A | 0 | 542877 | A | 0 | 32079070 | A | 39138 | 4735133 | A | 2627 |
| **08/14/15** | Fri | 0.00 | 10953689 | A | 4800 | 7590788 | A | 3500 | 542877 | A | 933 | 32118208 | A | 53462 | 4737760 | A | 1013 |
| **08/15/15** | Sat | **0.62** | 10953710 | A | 3600 | 7590880 | A | 4200 | 543810 | A | 10 | 32171670 | A | 22732 | 4738773 | A | 781 |
| **08/16/15** | Sun | **4.69** | 10953710 | A | 19200 | 7590880 | A | 44800 | 543820 | A | 2 | 32194402 | A | 44114 | 4739554 | A | 8411 |
| **08/17/15** | Mon | **0.01** | 10953710 | A | 12600 | 7590882 | A | 29400 | 543822 | A | 4057 | 32238516 | A | 20162 | 4747965 | A | 16873 |
| **08/18/15** | Tue | **1.46** | 10953712 | A | 420 | 7590887 | A | 0 | 547879 | A | 5002 | 32258678 | A | 32736 | 4764838 | A | 12939 |
| **08/19/15** | Wed | 0.00 | 10953719 | A | 0 | 7590887 | A | 0 | 552881 | A | 4669 | 32291414 | A | 10324 | 4777777 | A | 12270 |
| **08/20/15** | Thu | **0.25** | 10953719 | A | 80700 | 7590887 | A | 0 | 557550 | A | 3493 | 32301738 | A | 53654 | 4790047 | A | 8036 |
| **08/21/15** | Fri | **0.62** | 10953719 | A | 16800 | 7590883 | A | 0 | 561043 | A | 2060 | 32355392 | A | 55004 | 4798083 | A | 7044 |
| **08/22/15** | Sat | **0.71** | 10953719 | A | 67200 | 7590883 | A | 2800 | 563103 | A | 1246 | 32410396 | A | 11984 | 4805127 | A | 4642 |
| **08/23/15** | Sun | 0.00 | 10953719 | A | 9600 | 7590883 | A | 23800 | 564349 | A | 1653 | 32422380 | A | 22386 | 4809769 | A | 6360 |
| **08/24/15** | Mon | **0.64** | 10953719 | A | 93600 | 7590883 | A | 23800 | 566002 | A | 550 | 32444766 | A | 126486 | 4816129 | A | 5104 |
| **08/25/15** | Tue | 0.00 | 10953719 | A | 76800 | 7590883 | A | 0 | 566552 | A | 543 | 32571252 | A | 52798 | 4821233 | A | 3034 |
| **08/26/15** | Wed | 0.00 | 10953719 | A | 0 | 7590883 | A | 44800 | 567095 | A | 1155 | 32624050 | A | 40788 | 4824267 | A | 2749 |
| **08/27/15** | Thu | 0.00 | 10953719 | A | 10800 | 7590883 | A | 11200 | 568250 | A | 10 | 32664838 | A | 22016 | 4827016 | A | 1665 |
| **08/28/15** | Fri | 0.00 | 10953719 | A | 9000 | 7590883 | A | 7700 | 568260 | A | 145 | 32686854 | A | 15676 | 4828681 | A | 1299 |
| **08/29/15** | Sat | **0.15** | 10953719 | A | 4200 | 7590883 | A | 10500 | 568405 | A | 862 | 32702530 | A | 13930 | 4829980 | A | 1065 |
| **08/30/15** | Sun | **0.20** | 10953719 | A | 3960 | 7590883 | A | 9240 | 569267 | A | 4 | 32716460 | A | 14448 | 4831045 | A | 556 |
| **08/31/15** | Mon | **0.47** | 10953719 | A | 360 | 7590883 | A | 14360 | 569271 | A | 0 | 32730908 | A | 16076 | 4831601 | A | 822 |
| **TOTAL** | | **17.31** |  |  | **886568** |  |  | **478607** |  |  | **45232** |  |  | **1336256** |  |  | **194111** |