Attachment G                                                               DEP-SOP-001/01

FS 2200 Groundwater Sampling

Form FD 9000-24

GROUNDWATER SAMPLING LOG

| FACILITYNAME: Keene Road South Class III Landfill | FACILITY LOCATION: |
| --- | --- |
| MONITORING_SITE_NUM: | WACS_WELL: | DATE: |
| PURGING DATA |
| WELL DIAMETER (inches): | TUBING DIAMETER (inches): | WELL SCREEN INTERVAL DEPTH: feet to feet | STATIC DEPTH TO WATER (feet): | PURGE PUMP TYPE OR BAILER: |
| WELL VOLUME PURGE: 1 WELL VOLUME = (TOTAL WELL DEPTH – STATIC DEPTH TO WATER) X WELL CAPACITY only fill out if applicable) = ( feet – feet) X gallons/foot = gallons |
| EQUIPMENT VOLUME PURGE: 1 EQUIPMENT VOL. = PUMP VOLUME + (TUBING CAPACITY X TUBING LENGTH) + FLOW CELL VOLUME (only fill out if applicable) = gallons + ( gallons/foot X feet) + gallons = gallons |
| INITIAL PUMP OR TUBING DEPTH IN WELL (feet): | FINAL PUMP OR TUBING DEPTH IN WELL (feet): | PURGING INITIATED AT: | PURGING ENDED AT: | TOTAL VOLUME PURGED (gallons): |
| TIME | VOLUME PURGED (gallons) | CUMUL. VOLUME PURGED (gallons) | PURGE RATE (gpm) | DEPTH TO WATER (feet) | pH (standard units) | TEMP. (OC) | COND. ((mhos/cm or (S/cm) | DISSOLVED OXYGEN (circle mg/L or % saturation) | TURBIDITY (NTUs) | COLOR (describe) | ODOR (describe) |
| WELL CAPACITY (Gallons Per Foot): 0.75” = 0.02; 1” = 0.04; 1.25” = 0.06; 2” = 0.16; 3” = 0.37; 4” = 0.65; 5” = 1.02; 6” = 1.47; 12” = 5.88 TUBING INSIDE DIA. CAPACITY (Gal./Ft.): 1/8" = 0.0006; 3/16" = 0.0014; 1/4" = 0.0026; 5/16" = 0.004; 3/8" = 0.006; 1/2" = 0.010; 5/8" = 0.016 |
| SAMPLING DATA |
| SAMPLED BY (PRINT) / AFFILIATION: | SAMPLER(S) SIGNATURES: | SAMPLING INITIATED AT: | SAMPLING ENDED AT: |
| PUMP OR TUBING DEPTH IN WELL (feet): | SAMPLE PUMP FLOW RATE (mL per minute): | TUBING MATERIAL CODE: |
| FIELD DECONTAMINATION: Y N | FIELD-FILTERED: Y N FILTER SIZE: (m Filtration Equipment Type: | DUPLICATE: Y N |
| SAMPLE CONTAINER SPECIFICATION | SAMPLE PRESERVATION | INTENDED ANALYSIS AND/OR METHOD | SAMPLING EQUIPMENT CODE |
| SAMPLE ID CODE | # CONTAINERS | MATERIAL CODE | VOLUME | PRESERVATIVE USED | TOTAL VOL ADDED IN FIELD (mL) | FINAL pH |  |  |
| REMARKS: |
| MATERIAL CODES: AG = Amber Glass; CG = Clear Glass; PE = Polyethylene; PP = Polypropylene; S = Silicone; T = Teflon; O = Other (Specify) |
| SAMPLING/PURGING APP = After Peristaltic Pump; B = Bailer; BP = Bladder Pump; ESP = Electric Submersible Pump; PP = Peristaltic Pump EQUIPMENT CODES: RFPP = Reverse Flow Peristaltic Pump; SM = Straw Method (Tubing Gravity Drain); VT = Vacuum Trap; O = Other (Specify) |

NOTES: 1.	 The above do not constitute all of the information required by Chapter 62-160, F.A.C.

2.	 Stabilization Criteria  for range of variation of last three consecutive  readings (see  FS 2212, section 3)

pH: + 0.2 units Temperature: + 0.2 oC Specific Conductance:  + 5% Dissolved Oxygen: all readings < 20% saturation (see Table FS 2200-2); optionally, + 0.2 mg/L or + 10% (whichever is greater) Turbidity: all readings < 20 NTU; optionally + 5 NTU or + 10% (whichever is greater)