Jeb Bush

Governor

Department of

Environmental Protection

Central District

3319 Maguire Boulevard, Suite 232

Orlando, Florida 32803-3767

Printed on recycled paper.

David B. Struhs

Secretary

"More Protection, Less Process"

## By E-Mail

bb@purplenet.net

Mr. John Buttrey

Buttrey Development Three, LLC

6239 Edgewater Drive, Suite D-1

Orlando, FL 32810

Orange County - SW

Keene Road Disposal/Buttrey Development, Class III, Landfill Expansion

Modification of Permit Nos. SC48-0165969-001 & SO48-0165969-002

Permit Application Nos. SC48-0165969-004 & SO48-0165969-005

Dear Mr. Buttrey:

Description of Facility:

The original permitted site for the Class III landfill is 60.53 acres and is owned by Buttrey Development Two, LLC.  The expansion parcel is owned by Buttrey Development Three, LLC.  With the original parcel and the expansion site, total site acreage is approximately 110 acres, of which 70 acres will be landfill footprint.  Permit Numbers SC48-0165969-001 and SO48-0165969-002 for the Class III landfill issued March 5, 2001 are modified to include the expansion of the landfill.

Specific Conditions:

1. Information:   The information submitted May 17, July 11, October 23, and November 15, 2002, concerning the expansion of the Keene Road Disposal/Buttrey Development, Class III Landfill on file at the Central District office, is made a part of this permit.

2. Monitoring Plan Implementation Schedule:  A new monitoring plan implementation schedule (MPIS) which replaces the MPIS in Specific Condition No. 29 of Permit Nos. SC48-0165969-001 and SO48-0165969-002, attached as Exhibit I is made a part of this permit.

3.  Operator Training Compliance:    The Keene Road Disposal/Buttrey Development, Class III Landfill, shall comply with Rule 62-701.320(15), F.A.C. - Operator Training, which replaces Specific Condition No. 35 of Permit Nos. SC48-0165969-001 and SO48-0165969-002.

4.  Solid Waste Disposal:  The solid waste disposal rate for this source is 3500 cubic yards per day as stated in the application, which replaces Specific Condition No. 44 of Permit Nos. SC48-0165969-001 and SO48-0165969-002.

5.  Landfill Elevation:  The maximum design elevation including final cover for the 50 acre expansion area of the landfill shall not exceed elevation 160.0 feet NGVD based on an average site elevation of 100 feet.

6.  Final Cover Drainage System:  Drainage swales shall be incorporated in the final cover system to route and intercept surface water runoff.  These swales along with a system of down chutes and drop inlets will convey the surface water runoff to adjacent dry detention areas.

7.  Landfilling Limits - McQueen Road Wells:  As shown on Exhibit A (revised Figure 7, Section II (Engineering Report)) the expansion footprint is divided in half.  A fence running from north to south identifies this division.  The purpose of the fence is to temporarily field denote (monument) the limits of any landfilling with respect to the McQueen Road wells, prior to installation of a County water line.  This fence also provides a 50 foot access easement adjacent to the western limits of the interim landfill activities.  Landfill activities will only occur 50 feet east of the fence until such time that a County water supply system is in place and the tie-in connections have been made.  Referring back to Exhibit A, any potable well along McQueen Road is greater than 650 feet from the interim setback line.

8.  Gas Management System:  The permittee shall implement a gas management system to comply with Rule 62-701.730, F.A.C. which replaces Specific Condition No. 32 of Permit Nos. SC48-0165969-001 and SO48-0165969-002.

9.  Prevention of Significant Deterioration (PSD) Requirements:  The landfill owner or operator is not required to obtain any air construction permit unless landfill construction or any modification is subject to the prevention of significant deterioration (PSD) requirements of Chapter 62-212, F.A.C.  A landfill for which construction or modification is subject to PSD requirements must make application to the Bureau of Air Regulation, Mail Station 5505, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, for an air construction permit and must obtain such permit prior to beginning any construction or modification.

10.  Title V Permit Requirements:  The landfill owner or operator is not required to obtain any air operating permit unless the landfill is required to obtain a Title V air operating permit (Title V permit) pursuant to Section 403.0872, F.S.  A landfill is required to obtain a Title V permit if the landfill (or the total facility, if the landfill is contiguous or part of a larger facility) has the potential to emit 10 TPY of any hazardous air pollutant, 25 TPY of any combination of hazardous air pollutants or 100 TPY of any other regulated air pollutant.    A landfill is also required to obtain a Title V permit if the maximum design capacity as defined in 40 CFR 60, Subpart WWW, is equal or greater than 2.5 million Megagrams or 2.5 million cubic meters.  Title V permits must be applied for in accordance with the timing and content requirements of Rule 62-204.800, F.A.C. and Chapter 62-213, F.A.C.  Title V applications shall be submitted to the Central District Air Program Administrator.

11. 40 CFR 60 Requirements:  The permittee shall comply with the requirements of 40 CFR 60, Subparts WWW and Cc, as adopted by reference at Rule 62-204.800, F.A.C.  The permittee shall submit to the Division of Air Resources Management, Department of Environmental Protection, Mail Station 5500, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400 any amended design capacity report and any Non-Methane Organic Compound (NMOC) emission rate report, as applicable, pursuant to 40 CFR 60.757(a)(3) and (b).

12.  Expansion Area Cells 5 through 8:   Expansion areas Cells 5 through 8 shall not receive waste without prior Department approval of updated cost estimates for closure and long-term care covering the additional acreage and volume, and documentation of compliance with Specific Condition No. 15 of this modified permit.

13.  Permitted Site Cells I through 4:  Only Cells 1 through 4 of the permitted site shall be filled prior to submittal of the closure and long-term care costs for the expanded areas (Cells 5 through 8), and documentation of compliance with Specific Condition No. 15 of this modified permit.

14.  Monuments:  Monuments shall be installed at the landfill site to mark the limits of Cell 4 where it adjoins Cell 8 of the expansion site.  A monument shall be installed at the southwest corner of Cell 4 within the limits of the permitted site, along with two additional monuments located to the north and east of the southwest corner.  These three monuments shall delineate the limits of Cell 4 that adjoin Cell 8, which will allow for visual on-site inspections of waste placement between the original and expansion areas.  No waste shall be placed outside these markers prior to acceptance of and execution of a new financial mechanism.

15.  Financial Responsibility:  A modified financial mechanism, approved by the Department’s Financial Coordinator, shall be in place 60 days prior to placement of waste in the expansion areas (Cells 5 through 8).

All other conditions of the subject permit remain unchanged.

This letter must be attached to Permit Nos. SC48-0165969-001 & SO48-0165969-002 and becomes part of that permit.

Sincerely,

William M. Bostwick, Jr., P.E. for

Vivian F. Garfein, Director

Central District

Department of Environmental Protection

3319 Maguire Boulevard, Suite 232

Orlando, FL 32803

407/894-7555

Date:  January 16, 2003

VFG/gc/ew